Bill of Quantities — questions

For Vanessa Gwanvoma

Groundwork by Jalla   ·   9 September 2026

What this is. We built Groundwork’s cost estimator from four of your bills of quantities. Naka now reproduces to within 1% — it is the only one of the four that priced a whole building the way we do, so it is the fairest measure. The other three each price a different scope. Thank you for the 4 September answers. The timeline rule, the four professional fee lines, 2% contingency and the 5,000 XAF/m² design fee are all in and shipped. Please do not spend time on those again. The remaining gap sits in a small number of specific line items where your four documents disagree with one another, and we cannot tell from the files alone which reading is the correct one. Each question below is one of those. Every one you answer lets us tighten a real figure.

How to answer

There is a box under each question. A sentence is plenty — we are not asking you to reprice anything. Where a question offers two readings, telling us which one is right is the whole answer. Where we have simply guessed a rate, a corrected figure is all we need.

If it is easier to talk than write, we will take notes on a call and send them back for you to correct.

The four documents

| # | File | Project | Total (XAF) |
| --- | --- | --- | --- |
| 1 | CONSTRUCTION ESTIMATE OF G+1 BUILDING .xlsx | Mme. Rose Ndum Kenah, Yaoundé | 59,675,280 |
| 2 | BUEA RESIDENCE ESTIMATE.xlsx | Woyamukumbat, Buea | 43,410,955 |
| 3 | NI PAS CONSTRUCTION ESTIMATE OF G+1 SCHOOL.xlsx | Naka | 42,213,867 |
| 4 | MPANGOU.xlsx | Mpangou, Kribi (G+3) | 64,268,593 |

Where our estimate currently lands against each

These are construction against construction. Your bills price the build itself, so the figures below are our build cost only — they exclude the design, permit and professional fees Groundwork charges a client on top. Comparing our client-facing total against your documents would flatter or penalise us for fees that are not in your scope.

| Document | Yours (XAF) | Ours (XAF) | Difference | In August |
| --- | --- | --- | --- | --- |
| 3 Naka | 42,213,867 | 41,732,608 | −1.1% | −5.4% |
| 2 Buea | 43,410,955 | 51,803,389 | +19.3% | +17.5% |
| 1 Rose | 59,675,280 | 50,959,788 | −14.6% | −20.7% |
| 4 Mpangou | 64,268,593 | 97,732,073 | +52.1% | +31.1% |

Naka is closest because it is the only document that measured internal partitions, painted every floor and priced a whole building — a like-for-like comparison. It is now within 1.1%.

Mpangou moved further away, and we did that on purpose. We found a counting error: our estimator charged one suspended floor slab, one soffit plaster and one staircase for a building of any height. A suspended slab is the floor of the storey above it, so a G+3 needs three — we were pricing one. Correcting it added about 8.0 million XAF to Mpangou and changed nothing at all on the three G+1 documents. Mpangou is also the one document pricing a continuation of a half-built structure, so we expect to sit above it. Question 16 asks by how much.

How we arrive at a figure

This section is here so you can check the shape of the model, not only the individual line items. If the way we spread money across a build does not match how it is really spent on site, everything else is detail.

What a client is quoted

Four separate things, shown as four lines. Only the first is a measured cost; the other three are fees.

| Line | How it is worked out | On the example below |
| --- | --- | --- |
| Construction | Measured quantities priced at your rates. The build itself. | $62,490.00 |
| Design | 5,000 XAF per m² of built area (floor area × number of floors) | $2,000.00 |
| Professional | 50,000 XAF per construction stage, seven stages — a flat fee | $583.33 |
| Permit | 1% of the construction cost | $624.90 |
| Total | The four added together | $65,698.23 |

Where each of those numbers comes from

This is the part worth your attention. Only the first line is derived from your documents. The rest are commercial decisions Jalla has taken, and we would like to know whether they look sane to someone who prices real buildings.

| Figure | Where it came from | Your view? |
| --- | --- | --- |
| The build cost | Your four bills of quantities — quantities from the geometry, rates as quoted in your documents | Yes — Questions 1–15 |
| 60% material / 40% labour | A Jalla rule of thumb. Splits the build cost for display only; it does not change the total | Yes |
| Design fee, 5,000 XAF/m² | Set by Jalla | Sanity check |
| Professional fee, 50,000 XAF per stage | Set by Jalla | Sanity check |
| Permit fee, 1% of the build | Set by Jalla | Yes — Review 2 |
| The ten stage percentages | Set by Jalla | Yes — Review 1 |

How the build cost itself is worked out

In plain terms: we take the size and shape of the building, work out the quantities the way you would — cubic metres of excavation, square metres of blockwork, linear metres of railing — and price each at the rate your documents quote for that city.

We do not apply a single rate per square metre to the whole house. That was the old method, fitted to one document, and it overshot the other three by up to 146%. Quantities first and rates second is what brought it into the range on the previous page.

How the money is spread across the ten stages

A client pays in stages as work completes. Each stage carries a share of the build cost — not of the total, because the design, permit and professional fees are not site work and are paid separately.

| # | Stage | Share of the build cost |
| --- | --- | --- |
| 1 | Land Secured | — never in the budget |
| 2 | Design Completed | — paid as the design fee |
| 3 | Site Preparation | 2% |
| 4 | Foundation | 8% |
| 5 | Structure & Walls | 30% |
| 6 | Roofing | 8% |
| 7 | Electrical & Plumbing | 17% |
| 8 | Finishing | 30% |
| 9 | Exterior Work | — not quoted |
| 10 | Final Handover | 5% |
|  | The seven charged stages | 100% |

Three stages carry no percentage, for three different reasons. Land is bought before Groundwork is involved. Design is paid as its own fee at that stage rather than as a share. Exterior work sits outside what we quote — the budget covers the main building.

The seven that remain add to exactly 100%, so the stage payments add up to the build cost with nothing unallocated and nothing counted twice.

A worked example

A two-storey single-family house in Douala: 120 m² per floor, standard finish, four bedrooms, three bathrooms. These are real figures out of the system, not an illustration.

| # | Stage | Share | Client pays |
| --- | --- | --- | --- |
| 1 | Land Secured | — | $0.00 |
| 2 | Design Completed | fee | $2,000.00 |
| 3 | Site Preparation | 2% | $1,249.80 |
| 4 | Foundation | 8% | $4,999.20 |
| 5 | Structure & Walls | 30% | $18,747.00 |
| 6 | Roofing | 8% | $4,999.20 |
| 7 | Electrical & Plumbing | 17% | $10,623.30 |
| 8 | Finishing | 30% | $18,747.00 |
| 9 | Exterior Work | — | $0.00 |
| 10 | Final Handover | 5% | $3,124.50 |
|  | Permit fee | 1% | $624.90 |
|  | Professional fee | flat | $583.33 |
|  | Total the client pays |  | $65,698.23 |

The seven charged stages add to $62,490.00 — the build cost exactly. Add the design fee at stage 2, then the permit and professional fees as their own lines, and you have the $65,698.23 the client sees.

Review 1  —  Do those stage percentages match how money is really spent?

This weighting came from Jalla, not from your documents. It decides how much a client hands over at each point in the build.

Getting it wrong is not a rounding problem. Too little early and a contractor cannot buy materials to start; too much early and the client has paid for work that has not happened, which is the exact risk Groundwork exists to remove.

The seven charged stages are: site preparation 2, foundation 8, structure and walls 30, roofing 8, electrical and plumbing 17, finishing 30, final handover 5.

What we need from you

Does that spread look right for a Cameroonian residential build? If not, what would you change it to — the seven need to total 100.

Your answer

Review 2  —  Is 1% of the build a fair figure for the permit?

We charge the client 1% of the construction cost to cover planning approval, the building permit and lands registry.

On the worked example that is $624.90, or roughly 375,000 XAF.

What we need from you

Is that about right in Cameroon, and does it vary much by city or by the size of the building?

Your answer

Section A  —  Figures in the documents we could not read

These five are places where a quantity in one document sits far outside the range of the other three. In each case we suspect a unit or a scope difference rather than an error, but we cannot tell which.

Question 1  —  Roof timber on the Rose document

What your document shows

Item 501 lists 806.20 m³ of treated timber, and item 502 a further 520 m³, on a 125 m² house. Taken literally that is roughly 500 tonnes of wood.

The same items in your other three documents are between 57 and 90 m³.

Roof cost works out at 48,050 XAF per m² of footprint here, against 5,202 / 6,246 / 9,804 in the others.

What we have assumed in the meantime

We treat this figure as an outlier and price a pitched roof at about 20,000 XAF per m² of footprint from first principles. That is a large part of why our estimate reads 14.6% below your Rose total.

What we need from you

Is 806.20 linear metres, or board feet, recorded in a column headed m³?

Your answer

Question 2  —  Roof sheeting on the Buea document

What your document shows

Item 503 lists 42.67 m² of aluminium sheet on a 224 m² footprint. A roof over that footprint would normally need 250–290 m² of sheet.

The document also carries a parapet line (336 m³ at 780 XAF).

What we have assumed in the meantime

We have read this as a flat concrete roof where only a small canopy is sheeted, because of the parapet line.

What we need from you

Is that right, or is a roofing section missing from the file?

Your answer

Question 3  —  How many floors is Mpangou?

What your document shows

The section is headed “FIRST TILL 3RD FLOOR ELEVATION” and the file is titled G+3.

But the section total of 24,514,368 is exactly four times one floor’s line items (6,128,592). In your other three documents the section total is exactly one times its line items.

What we have assumed in the meantime

We have taken it as stated in the title. If it is actually four upper floors, the per-floor uplift we derive changes from 20.6% to 15.4%, and this is a direct cause of our +52.1% on this document. It matters more than it did in August: the slab correction above is charged per upper floor, so the floor count decides how many slabs we price.

What we need from you

Is Mpangou three upper floors, or four?

Your answer

Question 4  —  The Mpangou foundation

What your document shows

Against document 3, on the same 144 m² footprint and half the height:

| Item | Mpangou (G+3) | Naka (G+1) | Ratio |
| --- | --- | --- | --- |
| Excavation | 40.32 m³ | 112.32 m³ | 0.36× |
| Reinforced concrete footings (204) | 0.69 m³ | 11.66 m³ | 0.06× |
| Foundation beams (206) | 2.16 m³ | 6.48 m³ | 0.33× |
| Preliminaries (100) | 170,000 | 830,000 | 0.20× |

What we have assumed in the meantime

We have excluded this document from our foundation calibration entirely, because a four-storey building needs larger footings than a two-storey one on the same footprint, not sixteen times smaller.

What we need from you

Was this foundation designed for a different structure, or is the schedule incomplete?

Your answer

Question 7  —  Painting scope on Mpangou

What your document shows

Items 901 and 902 cover 259.20 m², which is one floor’s plastered area, on a four-storey building.

Your other three documents paint every floor.

What we have assumed in the meantime

We paint every floor in our own calculation.

What we need from you

Should Mpangou’s painting be four times 259.20 m²?

Your answer

Section B  —  Conventions we had to choose between

These four are not errors in any document. They are places where your documents follow different conventions, and we had to pick one. Knowing which is standard practice would let us stop guessing.

Question 5  —  What unit is blockwork priced in?

What your document shows

Document 1 prices item 305 at 7,800 XAF per m², with quantities in m² (412.80 ground, 370 first), and its plastering is exactly twice that — both faces of the wall.

Documents 2, 3 and 4 price the same item at 1,750 XAF, against quantities of 1,456 / 936 / 312.

What we have assumed in the meantime

We have adopted the document 1 convention: per m² of wall. Neither reading reconciles with the plastered areas in the other three documents.

What we need from you

Is 1,750 XAF per block, or per m²? This now matters more than it did — contractors using Groundwork see a unit printed next to the box they are editing, and they need to know what they are pricing.

Your answer

Question 6  —  Do documents 2 and 4 exclude internal partitions?

What your document shows

Plastered area per floor, against the external envelope counted on both faces:

| Document | Plastered per floor | External envelope, both faces | Partitions included? |
| --- | --- | --- | --- |
| 1 Rose | 825.60 m² | 268 m² | yes |
| 3 Naka | 777.60 m² | 288 m² | yes |
| 2 Buea | 388.80 m² | 360 m² | no |
| 4 Mpangou | 259.20 m² | 288 m² | no |

What we have assumed in the meantime

We model internal partitions at 14 metres of wall per room per floor. Documents 1 and 3 imply 15.5 m and 18 m. That is most of why our estimate reads 19.3% above your Buea total.

What we need from you

Do documents 2 and 4 deliberately exclude internal partition walls, or were they omitted?

Your answer

Question 8  —  Which specification counts as “standard”?

What your document shows

Normalised for city and floor area, shell cost per built m² runs from 112 to 232 USD across your four documents.

Document 1 has ceiling staffing on both floors, two bathtubs, five mirrors and 1.5M of decoration. Documents 2 and 3 have none of those.

What we have assumed in the meantime

We classify documents 2 and 3 as standard finish and document 1 as premium, on that basis. This sets the multipliers a client sees when they choose a finish level: standard 1.00, premium 1.45, luxury 1.70.

What we need from you

Is that the right reading, and are those three multipliers about right?

Your answer

Question 9  —  Is electrical a quoted package or a measured install?

What your document shows

Section 700 totals 2,326,600 XAF in documents 1, 2 and 3 — identical to the franc — despite those buildings having 12, 9 and 9 rooms.

Section 800 (plumbing) is likewise identical in documents 2 and 3.

What we have assumed in the meantime

We scale electrical by the number of floors, with a small addition per room, so that a ten-bedroom house still prices above a two-bedroom one.

What we need from you

Are these standard packages you apply, or is the match a coincidence? If they are fixed packages we should label those lines “package — quoted” and show no quantity, rather than showing a client a measurement we did not measure.

Your answer

Section C  —  New questions since we last wrote

Groundwork now prints its estimate as a line-by-line bill using your item numbering, so a contractor can lay it beside a real quotation. That change surfaced these six.

Question 10  —  Mpangou lists no mirrors

What your document shows

Our fixture schedule reproduces documents 1, 2 and 3 to the franc (6,450,000 / 2,255,000 / 2,255,000).

Document 4 is the one it misses. It is plainly a luxury specification — five bathtubs, eight showers, five kitchen sinks — but lists no mirrors at all under item 807.

What we have assumed in the meantime

We give a mirror to every bathroom on a premium or luxury specification, so we show three where your document shows none. We have deliberately not changed the rule to fit, because we do not know which is correct.

What we need from you

Is that an omission in the document, or do you not price mirrors on this kind of job?

Your answer

Question 11  —  Is Adamawa 7–8% overall, or 7–8% on labour and materials?

What your document shows

You told us Adamawa runs 7–8% above the Douala baseline, and we have corrected our index from 1.4444 to 1.0750 accordingly.

But an identical building still prices 15.2% above Douala, because we take concrete from each city’s own column and Adamawa’s is 260,000 XAF/m³ against Douala’s 180,000 — 44% higher on inland haulage. Concrete is about a fifth of a take-off.

What we have assumed in the meantime

Both figures as you gave them: the index at 1.075 and the concrete column unchanged.

What we need from you

Does your 7–8% describe the finished project, or only the non-concrete trades? If it is the finished project, the Adamawa concrete column is overstated too and the two need to move together.

Your answer

Question 12  —  Roof coverings, and one we have added

What your document shows

We had three different sets of roof uplifts in our own system. They are now one set:

| Covering | Uplift over long-span aluminium |
| --- | --- |
| Long-span aluminium | baseline |
| Clay tiles | +10% |
| Concrete slab | +8% |
| Shingle | +5% |
| Aluminium deck (flat) | baseline — assumed, not measured |

What we have assumed in the meantime

The first four are as we understood them from the documents. The fifth — a flat aluminium deck — appears in none of your four, and we have priced it at the long-span rate because it is the same sheet laid to a shallow fall rather than pitched.

What we need from you

Are the first four right? And is our reading of the aluminium deck reasonable, or does the decking, falls and upstand detail put it nearer a concrete slab?

Your answer

Question 13  —  Room sizes behind your 120 m²

What your document shows

You put a five-bedroom two-storey semi-detached at 120 m² per floor. We had been suggesting 95, so we rebuilt our room benchmarks to reach your figure:

| Room | m² | Room | m² |
| --- | --- | --- | --- |
| Bedroom | 17 | Kitchen | 15 |
| Bathroom | 6 | Home office | 12 (our guess) |
| Living room | 32 | Circulation | +30% |

What we have assumed in the meantime

These now drive every floor area the app suggests. A client who accepts our suggestion is accepting these numbers, so we would rather they were yours than ours.

What we need from you

Are the individual room sizes right, or only the total? And is 12 m² sensible for a home office — that one is purely our guess.

Your answer

Question 14  —  Can you price a staff quarters?

What your document shows

We were adding $8,000 per room for staff quarters. That figure had nothing behind it, and on a typical build it was 19–27% of the total a client was shown.

What we have assumed in the meantime

We have removed it completely. The app still asks whether the client wants staff quarters, but it now costs nothing and says so on screen.

What we need from you

Could you send a bill of quantities for a typical staff quarters block — say two rooms with a shared bathroom? Until then we cannot quote it at all.

Your answer

Question 15  —  Nine rates that have nothing behind them

What your document shows

Now that our estimate prints as a line-by-line bill, every rate is visibly either taken from your documents or inferred by us. These nine are inferred, and they are flagged “est.” on screen so nobody mistakes them for measured figures:

| Item | Description | What we currently assume |
| --- | --- | --- |
| 101 | Site setup, hoarding, temporary works | 250,000 XAF lump sum |
| 102 | Site clearing and setting out | 1,600 XAF/m² |
| 207 | Damp-proof membrane | 1,000 XAF/m² |
| 208 | Sand blinding | 1,000 XAF/m² |
| 501 | Parapet wall | 4,500 XAF/ml |
| 502 | Roof timber and trusses | 6,500 XAF/m² |
| 701 | Electrical installation, per floor | 700,000 XAF |
| 702 | Electrical points, per room | 90,000 XAF |
| 907 | Final finishes allowance | 500,000 XAF lump sum |

What we need from you

Do any of these have a real rate you can give us? We would rather delete a line than publish an invented number inside it — a contractor who spots one made-up figure stops trusting the whole document.

Your answer

New since we last wrote

Question 16  —  How much of Mpangou was already built?

What your document shows

We now sit 52.1% above your Mpangou figure, up from 31.1%, because we corrected the slab count described earlier. Your document prices one contractor’s continuation of a structure already part-built — your note said it was incomplete and that the existing work was surveyed rather than re-priced.

Ours prices the whole building from scratch, so some gap is not only expected but correct. We cannot tell how much.

What we have assumed in the meantime

That the whole of the difference is explained by scope, which may be too generous to us.

What we need from you

Roughly what proportion of that building was already standing when you took it over? Even a rough fraction tells us whether +52% is about right or whether we have over-corrected.

Your answer

Question 17  —  Is 180,000 XAF/m² yours, or our own concrete rate handed back?

What your document shows

On 4 September you gave us a quick check: a Yaoundé build runs about 180,000 XAF per built m² — footprint × floors × 180,000. We use it exactly as you described it, as a sanity check and never as a price. If our estimate falls below half of it, the client is told the figure looks low for a building that size and to have a contractor confirm it.

The reason we are asking is a coincidence we would rather not build on. Your own price book puts Yaoundé RC-350 concrete at 180,000 XAF per cubic metre. Same number, different quantity, different unit.

What we have assumed in the meantime

That the per-m² figure is real and separate from the concrete rate.

What we need from you

Is 180,000 XAF per built m² a genuine rule of thumb, or was that the concrete rate? Both readings are plausible, which is exactly why we do not want to guess — if it is the concrete rate, our warning is calibrated against the wrong figure.

Your answer

Question 18  —  Should cost per m² keep falling as a building gets taller?

What your document shows

With the slab correction in, a Yaoundé building at a fixed footprint prices as below, measured against the 180,000 rule of thumb in Question 17.

Going from one storey to eight, we lose about 49% of the ratio. Before the slab fix it was 62%, so the correction closed roughly a fifth of the gap — but not the rest.

Some decay is real: a foundation and a site setup are paid once and spread over more floor area. We have no mechanism left that explains the remainder.

| Storeys | Our cost ÷ rule of thumb |
| --- | --- |
| 1 | 1.29 |
| 2 | 0.84 |
| 4 | 0.70 |
| 8 | 0.63 |
| 12 | 0.61 |

What we have assumed in the meantime

That the remaining decay is correct, which we do not actually believe.

What we need from you

Is losing about half the rate per m² over eight storeys right, or should a tall building cost nearer a flat rate per m²?

Your answer

Two smaller ones in the same area.

Should a bungalow be charged a suspended floor slab at all? We charge one today. A single-storey building under a pitched roof does not have one — but no document in the set is a bungalow, so there is nothing to calibrate against, and it is the commonest building our clients ask for.

Partition walls and bathroom tiling scale with the total room count rather than per floor, so a tall building with a fixed number of rooms gets a shrinking allowance per floor. Is that right?

Your answer

The price book, and Nigeria

The unit cost calculation sheet — eight cities, built up from cement, sand, gravel, steel, formwork, labour, water and equipment plus 25% overhead and profit — is now the basis of everything we price. It cross-checks well: each document’s own concrete rate matches its own city’s column.

| Document | City | Concrete rate in the document | Matches the book? |
| --- | --- | --- | --- |
| 1 Rose | Yaoundé | 180,000 | yes |
| 2 Buea | Buea | 190,000 | yes |
| 3 Naka | Bamenda | 190,000 | yes |
| 4 Mpangou | Kribi | 179,000 | yes |

Two notes on that book. Bali is now listed as Bamenda in the app, carrying the same rates. And Adamawa is covered in Question 11 above.

Nigeria — we are guessing, and would rather not. Abuja sits at 450,000 XAF/m³ in the book, 2.5 times Douala. We currently hold three different Nigerian base rates in our own system — 672, 1,600 and 180 USD per m² — and not one of them has a Nigerian bill of quantities behind it. Do you have a Nigerian BQ, or know someone who would share one? Until then we will keep saying on screen that Nigerian figures are unverified.

Your answer

What each answer would let us do

| Questions | What changes |
| --- | --- |
| 1, 3, 4, 6, 7 | We stop excluding documents from calibration, and can tighten our stated accuracy from roughly ±25–35% toward ±10% |
| 5, 9, 15 | Contractors can price against our lines without translating them into their own first |
| 10 | Our fixture schedule reproduces all four of your documents instead of three |
| 11 | Clients building in Adamawa get a figure we can defend |
| 12, 13 | Every roof and floor area the app suggests rests on your figures rather than ours |
| 14 | We can quote staff quarters at all |
| 16 | We know whether the slab correction landed right or overshot |
| 17 | Our low-estimate warning is calibrated against a real benchmark |
| 18 | Tall buildings are priced on your judgement, not on an unexplained decay |

If you can only answer three, please make them 17, 18 and 15.  17 and 18 decide whether tall buildings are priced correctly at all — the thing our testers actually complained about — and 15 is nine rates a contractor can currently see marked as our guesses.

If the re-baselined bill of quantities you mentioned is close to ready, several of these would be settled by it at once — we are happy to wait for that rather than take your time twice.

Thank you. Every question here exists because we would rather ask than guess.

Groundwork by Jalla   ·   contact@tryjalla.com